## Alcotest Instrument Record
Serial Num | Version | Retrieval Date | RECORD_TYPE | File # | Calib # | Calib File # | Calib Date | Calib Cert # | Calib Cert File # | Calib Cert Date | Lin Cert # | Lin Cert File # | Lin Cert Date | Soln Chng # | Soln Chng File # | Soln Chng Date | START TIME: | END TIME : | LOCATION | SOLN LOT | SOLN BOTTLE | SOLN TARGET | SOLN EXPIRES | CALIB UNIT | CALIB UNIT MODEL NO | CALIB UNIT SERIAL NO | SOLN LOT_2 | SOLN BOTTLE_2 | SOLN TARGET_2 | SOLN EXPIRES_2 | CALIB UNIT_2 | CALIB UNIT SERIAL NO_2 | SOLN LOT_3 | SOLN BOTTLE_3 | SOLN TARGET_3 | SOLN EXPIRES_3 | CALIB UNIT_3 | CALIB UNIT MODEL NO_3 | CALIB UNIT SERIAL NO_3 | OPERATOR LAST NAME | OPERATOR FIRST NAME | OPERATOR MIDDLE INIT | OPERATOR BADGE NO | ERROR | CAL CHECK START TIME | CAL CHECK NULL1_TIME | PRE-BLANK | CAL GAS BLOW TIME | CAL GAS MEAS TIME | CTRL IR | CTRL EC | CAL CHECK NULL2_TIME | POST-BLANK | SIMULATOR TEMP | GAS TYPE | GAS INLET | TARGET CONC | RELATIVE TOLERANCE | ABSOLUTE TOLERANCE | ERROR_2 | CAL CHECK START TIME_2 | CAL CHECK NULL1_TIME_2 | PRE-BLANK_2 | CAL GAS BLOW TIME_2 | CAL GAS MEAS TIME_2 | CTRL IR_2 | CTRL EC_2 | CAL CHECK NULL2_TIME_2 | POST-BLANK_2 | SIMULATOR TEMP_2 | GAS TYPE_2 | GAS INLET_2 | TARGET CONC_2 | RELATIVE TOLERANCE_2 | ABSOLUTE TOLERANCE_2 | ERROR_3 | CAL CHECK START TIME_3 | CAL CHECK NULL1_TIME_3 | PRE-BLANK_3 | CAL GAS BLOW TIME_3 | CAL GAS MEAS TIME_3 | CTRL IR_3 | CTRL EC_3 | CAL CHECK NULL2_TIME_3 | POST-BLANK_3 | SIMULATOR TEMP_3 | GAS TYPE_3 | GAS INLET_3 | TARGET CONC_3 | RELATIVE TOLERANCE_3 | ABSOLUTE TOLERANCE_3 | ERROR_4 | CAL CHECK START TIME_4 | CAL CHECK NULL1_TIME_4 | PRE-BLANK_4 | CAL GAS BLOW TIME_4 | CAL GAS MEAS TIME_4 | CTRL IR_4 | CTRL EC_4 | CAL CHECK NULL2_TIME_4 | POST-BLANK_4 | SIMULATOR TEMP_4 | GAS TYPE_4 | GAS INLET_4 | TARGET CONC_4 | RELATIVE TOLERANCE_4 | ABSOLUTE TOLERANCE_4 | ERROR_5 | CAL CHECK START TIME_5 | CAL CHECK NULL1_TIME_5 | PRE-BLANK_5 | CAL GAS BLOW TIME_5 | CAL GAS MEAS TIME_5 | CTRL IR_5 | CTRL EC_5 | CAL CHECK NULL2_TIME_5 | POST-BLANK_5 | SIMULATOR TEMP_5 | GAS TYPE_5 | GAS INLET_5 | TARGET CONC_5 | RELATIVE TOLERANCE_5 | ABSOLUTE TOLERANCE_5 | PRE-TEST DIAGNOSTIC CHECK | POST-TEST DIAGNOSTIC CHECK
ABCD-0000 | NJ3.11 | 04/24/12 06:25:08 | 0x23 | 2253 | 20 | 2196 | 03/01/2012 12:01S | 15 | 2197 | 03/01/2012 12:22S | 15 | 2198 | 03/01/2012 12:58S | 173 | 2253 | 04/22/2012 02:35D | 04/22/2012 02:35D | 04/22/2012 02:41D | XYZ CITY POLICE | 00B111 | 1064 | 0.100% | 03/31/2013 | WET | CU-34 | AAAA E0-1234 | [13 empty] | LAST | FIRST | M | 1234 | NO ERROR | 04/22/2012 02:35D | 04/22/2012 02:35D | 0.000 | 04/22/2012 02:36D | 04/22/2012 02:36D | 0.100 | 0.100 | 04/22/2012 02:37D | 0.000 | 34.0 | WET | CUVETTE INLET | 0.100 | 5 | 0.005 | NO ERROR | 04/22/2012 02:38D | 04/22/2012 02:38D | 0.000 | 04/22/2012 02:38D | 04/22/2012 02:38D | 0.099 | 0.099 | 04/22/2012 02:39D | 0.000 | 34.0 | WET | CUVETTE INLET | 0.100 | 5 | 0.005 | NO ERROR | 04/22/2012 02:39D | 04/22/2012 02:39D | 0.000 | 04/22/2012 02:39D | 04/22/2012 02:40D | 0.099 | 0.098 | 04/22/2012 02:40D | 0.000 | 34.0 | WET | CUVETTE INLET | 0.100 | 5 | 0.005 | [32 empty] | OK | OK
ABCD-0000 | NJ3.11 | 04/05/12 09:39:21 | 0x23 | 2234 | 20 | 2196 | 03/01/2012 12:01S | 15 | 2197 | 03/01/2012 12:22S | 15 | 2198 | 03/01/2012 12:58S | 172 | 2234 | 04/04/2012 10:54D | 04/04/2012 10:54D | 04/04/2012 10:59D | XYZ CITY POLICE | 00B111 | 1069 | 0.100% | 03/31/2013 | WET | CU-34 | AAAA E0-1234 | [13 empty] | LAST | FIRST | M | 1235 | NO ERROR | 04/04/2012 10:54D | 04/04/2012 10:54D | 0.000 | 04/04/2012 10:55D | 04/04/2012 10:55D | 0.100 | 0.100 | 04/04/2012 10:55D | 0.000 | 34.0 | WET | CUVETTE INLET | 0.100 | 5 | 0.005 | NO ERROR | 04/04/2012 10:56D | 04/04/2012 10:56D | 0.000 | 04/04/2012 10:56D | 04/04/2012 10:56D | 0.099 | 0.099 | 04/04/2012 10:57D | 0.000 | 34.0 | WET | CUVETTE INLET | 0.100 | 5 | 0.005 | NO ERROR | 04/04/2012 10:58D | 04/04/2012 10:58D | 0.000 | 04/04/2012 10:58D | 04/04/2012 10:58D | 0.100 | 0.099 | 04/04/2012 10:58D | 0.000 | 34.0 | WET | CUVETTE INLET | 0.100 | 5 | 0.005 | [32 empty] | OK | OK
ABCD-0000 | NJ3.11 | 03/18/12 06:43:14 | 0x23 | 2215 | 20 | 2196 | 03/01/2012 12:01S | 15 | 2197 | 03/01/2012 12:22S | 15 | 2198 | 03/01/2012 12:58S | 171 | 2215 | 03/17/2012 09:52S | 03/17/2012 09:52S | 03/17/2012 09:59S | XYZ CITY POLICE | 00B111 | 1075 | 0.100% | 03/31/2013 | WET | CU-34 | AAAA E0-1234 | [13 empty] | LAST | FIRST | M | 1236 | NO ERROR | 03/17/2012 09:52S | 03/17/2012 09:52S | 0.000 | 03/17/2012 09:53S | 03/17/2012 09:55S | 0.097 | 0.098 | 03/17/2012 09:56S | 0.000 | 34.0 | WET | CUVETTE INLET | 0.100 | 5 | 0.005 | NO ERROR | 03/17/2012 09:56S | 03/17/2012 09:56S | 0.000 | 03/17/2012 09:56S | 03/17/2012 09:57S | 0.098 | 0.097 | 03/17/2012 09:57S | 0.000 | 34.0 | WET | CUVETTE INLET | 0.100 | 5 | 0.005 | NO ERROR | 03/17/2012 09:58S | 03/17/2012 09:58S | 0.000 | 03/17/2012 09:58S | 03/17/2012 09:58S | 0.099 | 0.097 | 03/17/2012 09:59S | 0.000 | 34.0 | WET | CUVETTE INLET | 0.100 | 5 | 0.005 | [32 empty] | OK | OK
ABCD-0000 | NJ3.11 | 03/04/12 06:41:07 | 0x23 | 2199 | 20 | 2196 | 03/01/2012 12:01S | 15 | 2197 | 03/01/2012 12:22S | 15 | 2198 | 03/01/2012 12:58S | 170 | 2199 | 03/01/2012 14:21S | 03/01/2012 14:21S | 03/01/2012 14:26S | XYZ CITY POLICE | 00B111 | 1068 | 0.100% | 03/31/2013 | WET | CU-34 | AAAA E0-1234 | [13 empty] | LAST | FIRST | M | 1237 | NO ERROR | 03/01/2012 14:21S | 03/01/2012 14:21S | 0.000 | 03/01/2012 14:21S | 03/01/2012 14:22S | 0.099 | 0.100 | 03/01/2012 14:22S | 0.000 | 34.0 | WET | CUVETTE INLET | 0.100 | 5 | 0.005 | NO ERROR | 03/01/2012 14:23S | 03/01/2012 14:23S | 0.000 | 03/01/2012 14:23S | 03/01/2012 14:23S | 0.099 | 0.098 | 03/01/2012 14:24S | 0.000 | 34.0 | WET | CUVETTE INLET | 0.100 | 5 | 0.005 | NO ERROR | 03/01/2012 14:24S | 03/01/2012 14:24S | 0.000 | 03/01/2012 14:24S | 03/01/2012 14:25S | 0.099 | 0.098 | 03/01/2012 14:25S | 0.000 | 34.0 | WET | CUVETTE INLET | 0.100 | 5 | 0.005 | [32 empty] | OK | OK
ABCD-0000 | NJ3.11 | 02/05/12 07:08:35 | 0x23 | 2164 | 19 | 2015 | 09/09/2011 10:06D | 14 | 2016 | 09/09/2011 10:20D | 14 | 2017 | 09/09/2011 10:36D | 166 | 2164 | 02/05/2012 06:50S | 02/05/2012 06:50S | 02/05/2012 06:56S | XYZ CITY POLICE | 00B111 | 103 | 0.100% | 03/31/2013 | WET | CU-34 | AAAA E0-1234 | [13 empty] | LAST | FIRST | M | 1238 | NO ERROR | 02/05/2012 06:50S | 02/05/2012 06:50S | 0.000 | 02/05/2012 06:51S | 02/05/2012 06:51S | 0.101 | 0.101 | 02/05/2012 06:52S | 0.000 | 34.0 | WET | CUVETTE INLET | 0.100 | 5 | 0.005 | NO ERROR | 02/05/2012 06:53S | 02/05/2012 06:53S | 0.000 | 02/05/2012 06:53S | 02/05/2012 06:53S | 0.100 | 0.099 | 02/05/2012 06:53S | 0.000 | 34.0 | WET | CUVETTE INLET | 0.100 | 5 | 0.005 | NO ERROR | 02/05/2012 06:54S | 02/05/2012 06:54S | 0.000 | 02/05/2012 06:54S | 02/05/2012 06:54S | 0.100 | 0.099 | 02/05/2012 06:55S | 0.000 | 34.0 | WET | CUVETTE INLET | 0.100 | 5 | 0.005 | [32 empty] | OK | OK
ABCD-0000 | NJ3.11 | 01/15/12 07:04:29 | 0x23 | 2144 | 19 | 2015 | 09/09/2011 10:06D | 14 | 2016 | 09/09/2011 10:20D | 14 | 2017 | 09/09/2011 10:36D | 165 | 2144 | 01/14/2012 11:39S | 01/14/2012 11:39S | 01/14/2012 11:44S | XYZ CITY POLICE | 00B111 | 101 | 0.100% | 03/31/2013 | WET | CU-34 | AAAA E0-1234 | [13 empty] | LAST | FIRST | M | 1239 | NO ERROR | 01/14/2012 11:39S | 01/14/2012 11:39S | 0.000 | 01/14/2012 11:40S | 01/14/2012 11:40S | 0.101 | 0.100 | 01/14/2012 11:41S | 0.000 | 34.0 | WET | CUVETTE INLET | 0.100 | 5 | 0.005 | NO ERROR | 01/14/2012 11:41S | 01/14/2012 11:41S | 0.000 | 01/14/2012 11:41S | 01/14/2012 11:42S | 0.100 | 0.098 | 01/14/2012 11:42S | 0.000 | 34.0 | WET | CUVETTE INLET | 0.100 | 5 | 0.005 | NO ERROR | 01/14/2012 11:43S | 01/14/2012 11:43S | 0.000 | 01/14/2012 11:43S | 01/14/2012 11:43S | 0.100 | 0.098 | 01/14/2012 11:44S | 0.000 | 34.0 | WET | CUVETTE INLET | 0.100 | 5 | 0.005 | [32 empty] | OK | OK
ABCD-0000 | NJ3.11 | 12/18/11 06:32:32 | 0x23 | 2119 | 19 | 2015 | 09/09/2011 10:06D | 14 | 2016 | 09/09/2011 10:20D | 14 | 2017 | 09/09/2011 10:36D | 164 | 2119 | 12/17/2011 05:34S | 12/17/2011 05:34S | 12/17/2011 05:39S | XYZ CITY POLICE | 00B111 | 106 | 0.100% | 03/31/2013 | WET | CU-34 | AAAA E0-1234 | [13 empty] | LAST | FIRST | M | 1240 | NO ERROR | 12/17/2011 05:34S | 12/17/2011 05:34S | 0.000 | 12/17/2011 05:35S | 12/17/2011 05:35S | 0.101 | 0.100 | 12/17/2011 05:35S | 0.000 | 34.0 | WET | CUVETTE INLET | 0.100 | 5 | 0.005 | NO ERROR | 12/17/2011 05:36S | 12/17/2011 05:36S | 0.000 | 12/17/2011 05:36S | 12/17/2011 05:36S | 0.102 | 0.100 | 12/17/2011 05:37S | 0.000 | 34.0 | WET | CUVETTE INLET | 0.100 | 5 | 0.005 | NO ERROR | 12/17/2011 05:38S | 12/17/2011 05:38S | 0.000 | 12/17/2011 05:38S | 12/17/2011 05:38S | 0.101 | 0.100 | 12/17/2011 05:38S | 0.000 | 34.0 | WET | CUVETTE INLET | 0.100 | 5 | 0.005 | [32 empty] | OK | OK
ABCD-0000 | NJ3.11 | 11/20/11 06:30:22 | 0x23 | 2098 | 19 | 2015 | 09/09/2011 10:06D | 14 | 2016 | 09/09/2011 10:20D | 14 | 2017 | 09/09/2011 10:36D | 163 | 2098 | 11/19/2011 11:38S | 11/19/2011 11:38S | 11/19/2011 11:43S | XYZ CITY POLICE | 00B111 | 111 | 0.100% | 03/31/2013 | WET | CU-34 | AAAA E0-1234 | [13 empty] | LAST | FIRST | M | 1241 | NO ERROR | 11/19/2011 11:38S | 11/19/2011 11:38S | 0.000 | 11/19/2011 11:38S | 11/19/2011 11:39S | 0.101 | 0.100 | 11/19/2011 11:39S | 0.000 | 34.0 | WET | CUVETTE INLET | 0.100 | 5 | 0.005 | NO ERROR | 11/19/2011 11:40S | 11/19/2011 11:40S | 0.000 | 11/19/2011 11:40S | 11/19/2011 11:40S | 0.100 | 0.099 | 11/19/2011 11:41S | 0.000 | 34.0 | WET | CUVETTE INLET | 0.100 | 5 | 0.005 | NO ERROR | 11/19/2011 11:41S | 11/19/2011 11:41S | 0.000 | 11/19/2011 11:41S | 11/19/2011 11:42S | 0.100 | 0.100 | 11/19/2011 11:42S | 0.000 | 34.0 | WET | CUVETTE INLET | 0.100 | 5 | 0.005 | [32 empty] | OK | OK
ABCD-0000 | NJ3.11 | 10/23/11 06:40:59 | 0x23 | 2072 | 19 | 2015 | 09/09/2011 10:06D | 14 | 2016 | 09/09/2011 10:20D | 14 | 2017 | 09/09/2011 10:36D | 162 | 2072 | 10/22/2011 04:06D | 10/22/2011 04:06D | 10/22/2011 04:11D | XYZ CITY POLICE | 00B111 | 118 | 0.100% | 03/31/2013 | WET | CU-34 | AAAA E0-1234 | [13 empty] | LAST | FIRST | M | 1242 | NO ERROR | 10/22/2011 04:06D | 10/22/2011 04:06D | 0.000 | 10/22/2011 04:07D | 10/22/2011 04:07D | 0.101 | 0.102 | 10/22/2011 04:07D | 0.000 | 34.0 | WET | CUVETTE INLET | 0.100 | 5 | 0.005 | NO ERROR | 10/22/2011 04:08D | 10/22/2011 04:08D | 0.000 | 10/22/2011 04:08D | 10/22/2011 04:08D | 0.102 | 0.100 | 10/22/2011 04:09D | 0.000 | 34.0 | WET | CUVETTE INLET | 0.100 | 5 | 0.005 | NO ERROR | 10/22/2011 04:10D | 10/22/2011 04:10D | 0.000 | 10/22/2011 04:10D | 10/22/2011 04:10D | 0.100 | 0.100 | 10/22/2011 04:10D | 0.000 | 34.0 | WET | CUVETTE INLET | 0.100 | 5 | 0.005 | [32 empty] | OK | OK