## Sheet1
Headers available from Centralized Database download
Serial Num | Version | Retrieval Date | RECORD_TYPE | File # | Calib # | Calib File # | Calib Date | Calib Cert # | Calib Cert File # | Calib Cert Date | Lin Cert # | Lin Cert File # | Lin Cert Date | Soln Chng # | Soln Chng File # | Soln Chng Date | START TIME: | END TIME : | LOCATION | SOLN LOT | SOLN BOTTLE | SOLN TARGET | SOLN EXPIRES | CALIB UNIT | CALIB UNIT MODEL NO | CALIB UNIT SERIAL NO | SOLN LOT_2 | SOLN BOTTLE_2 | SOLN TARGET_2 | SOLN EXPIRES_2 | CALIB UNIT_2 | CALIB UNIT SERIAL NO_2 | SOLN LOT_3 | SOLN BOTTLE_3 | SOLN TARGET_3 | SOLN EXPIRES_3 | CALIB UNIT_3 | CALIB UNIT MODEL NO_3 | CALIB UNIT SERIAL NO_3 | OPERATOR LAST NAME | OPERATOR FIRST NAME | OPERATOR MIDDLE INIT | OPERATOR BADGE NO | ERROR | CAL CHECK START TIME | CAL CHECK NULL1_TIME | PRE-BLANK | CAL GAS BLOW TIME | CAL GAS MEAS TIME | CTRL IR | CTRL EC | CAL CHECK NULL2_TIME | POST-BLANK | SIMULATOR TEMP | GAS TYPE | GAS INLET | TARGET CONC | RELATIVE TOLERANCE | ABSOLUTE TOLERANCE | ERROR_2 | CAL CHECK START TIME_2 | CAL CHECK NULL1_TIME_2 | PRE-BLANK_2 | CAL GAS BLOW TIME_2 | CAL GAS MEAS TIME_2 | CTRL IR_2 | CTRL EC_2 | CAL CHECK NULL2_TIME_2 | POST-BLANK_2 | SIMULATOR TEMP_2 | GAS TYPE_2 | GAS INLET_2 | TARGET CONC_2 | RELATIVE TOLERANCE_2 | ABSOLUTE TOLERANCE_2 | ERROR_3 | CAL CHECK START TIME_3 | CAL CHECK NULL1_TIME_3 | PRE-BLANK_3 | CAL GAS BLOW TIME_3 | CAL GAS MEAS TIME_3 | CTRL IR_3 | CTRL EC_3 | CAL CHECK NULL2_TIME_3 | POST-BLANK_3 | SIMULATOR TEMP_3 | GAS TYPE_3 | GAS INLET_3 | TARGET CONC_3 | RELATIVE TOLERANCE_3 | ABSOLUTE TOLERANCE_3 | ERROR_4 | CAL CHECK START TIME_4 | CAL CHECK NULL1_TIME_4 | PRE-BLANK_4 | CAL GAS BLOW TIME_4 | CAL GAS MEAS TIME_4 | CTRL IR_4 | CTRL EC_4 | CAL CHECK NULL2_TIME_4 | POST-BLANK_4 | SIMULATOR TEMP_4 | GAS TYPE_4 | GAS INLET_4 | TARGET CONC_4 | RELATIVE TOLERANCE_4 | ABSOLUTE TOLERANCE_4 | ERROR_5 | CAL CHECK START TIME_5 | CAL CHECK NULL1_TIME_5 | PRE-BLANK_5 | CAL GAS BLOW TIME_5 | CAL GAS MEAS TIME_5 | CTRL IR_5 | CTRL EC_5 | CAL CHECK NULL2_TIME_5 | POST-BLANK_5 | SIMULATOR TEMP_5 | GAS TYPE_5 | GAS INLET_5 | TARGET CONC_5 | RELATIVE TOLERANCE_5 | ABSOLUTE TOLERANCE_5 | PRE-TEST DIAGNOSTIC CHECK | POST-TEST DIAGNOSTIC CHECK
ABCD-0000 | NJ3.11 | 04/24/12 06:25:08 | 0x23 | 2253 | 20 | 2196 | 03/01/2012 12:01S | 15 | 2197 | 03/01/2012 12:22S | 15 | 2198 | 03/01/2012 12:58S | 173 | 2253 | 04/22/2012 02:35D | 04/22/2012 02:35D | 04/22/2012 02:41D | XYZ CITY POLICE | 00B111 | 1064 | 0.100% | 03/31/2013 | WET | CU-34 | AAAA E0-1234 | [13 empty] | LAST | FIRST | M | 1234 | NO ERROR | 04/22/2012 02:35D | 04/22/2012 02:35D | 0.000 | 04/22/2012 02:36D | 04/22/2012 02:36D | 0.100 | 0.100 | 04/22/2012 02:37D | 0.000 | 34.0 | WET | CUVETTE INLET | 0.100 | 5 | 0.005 | NO ERROR | 04/22/2012 02:38D | 04/22/2012 02:38D | 0.000 | 04/22/2012 02:38D | 04/22/2012 02:38D | 0.099 | 0.099 | 04/22/2012 02:39D | 0.000 | 34.0 | WET | CUVETTE INLET | 0.100 | 5 | 0.005 | NO ERROR | 04/22/2012 02:39D | 04/22/2012 02:39D | 0.000 | 04/22/2012 02:39D | 04/22/2012 02:40D | 0.099 | 0.098 | 04/22/2012 02:40D | 0.000 | 34.0 | WET | CUVETTE INLET | 0.100 | 5 | 0.005 | [32 empty] | OK | OK
ABCD-0000 | NJ3.11 | 04/05/12 09:39:21 | 0x23 | 2234 | 20 | 2196 | 03/01/2012 12:01S | 15 | 2197 | 03/01/2012 12:22S | 15 | 2198 | 03/01/2012 12:58S | 172 | 2234 | 04/04/2012 10:54D | 04/04/2012 10:54D | 04/04/2012 10:59D | XYZ CITY POLICE | 00B111 | 1069 | 0.100% | 03/31/2013 | WET | CU-34 | AAAA E0-1234 | [13 empty] | LAST | FIRST | M | 1234 | NO ERROR | 04/04/2012 10:54D | 04/04/2012 10:54D | 0.000 | 04/04/2012 10:55D | 04/04/2012 10:55D | 0.100 | 0.100 | 04/04/2012 10:55D | 0.000 | 34.0 | WET | CUVETTE INLET | 0.100 | 5 | 0.005 | NO ERROR | 04/04/2012 10:56D | 04/04/2012 10:56D | 0.000 | 04/04/2012 10:56D | 04/04/2012 10:56D | 0.099 | 0.099 | 04/04/2012 10:57D | 0.000 | 34.0 | WET | CUVETTE INLET | 0.100 | 5 | 0.005 | NO ERROR | 04/04/2012 10:58D | 04/04/2012 10:58D | 0.000 | 04/04/2012 10:58D | 04/04/2012 10:58D | 0.100 | 0.099 | 04/04/2012 10:58D | 0.000 | 34.0 | WET | CUVETTE INLET | 0.100 | 5 | 0.005 | [32 empty] | OK | OK
Headers from CD data
"Serial Num" | "Version" | "Retrieval Date" | "RECORD_TYPE" | "File #" | "Calib #" | "Calib File #" | "Calib Date" | "Calib Cert #" | "Calib Cert File #" | "Calib Cert Date" | "Lin Cert #" | "Lin Cert File #" | "Lin Cert Date" | "Soln Chng #" | "Soln Chng File #" | "Soln Chng Date" | "START TIME:" | "END TIME :" | "LOCATION" | "SOLN LOT" | "SOLN BOTTLE" | "SOLN TARGET" | "SOLN EXPIRES" | "CALIB UNIT" | "CALIB UNIT MODEL NO" | "CALIB UNIT SERIAL NO" | [13 empty] | "OPERATOR LAST NAME" | "OPERATOR FIRST NAME" | "OPERATOR MIDDLE INIT" | "OPERATOR BADGE NO" | "ERROR" | "CAL CHECK START TIME" | "CAL CHECK NULL1_TIME" | "PRE-BLANK" | "CAL GAS BLOW TIME" | "CAL GAS MEAS TIME" | "CTRL IR" | "CTRL EC" | "CAL CHECK NULL2_TIME" | "POST-BLANK" | "SIMULATOR TEMP" | "GAS TYPE" | "GAS INLET" | "TARGET CONC" | "RELATIVE TOLERANCE" | "ABSOLUTE TOLERANCE" | "ERROR_2" | "CAL CHECK START TIME_2" | "CAL CHECK NULL1_TIME_2" | "PRE-BLANK_2" | "CAL GAS BLOW TIME_2" | "CAL GAS MEAS TIME_2" | "CTRL IR_2" | "CTRL EC_2" | "CAL CHECK NULL2_TIME_2" | "POST-BLANK_2" | "SIMULATOR TEMP_2" | "GAS TYPE_2" | "GAS INLET_2" | "TARGET CONC_2" | "RELATIVE TOLERANCE_2" | "ABSOLUTE TOLERANCE_2" | "ERROR_3" | "CAL CHECK START TIME_3" | "CAL CHECK NULL1_TIME_3" | "PRE-BLANK_3" | "CAL GAS BLOW TIME_3" | "CAL GAS MEAS TIME_3" | "CTRL IR_3" | "CTRL EC_3" | "CAL CHECK NULL2_TIME_3" | "POST-BLANK_3" | "SIMULATOR TEMP_3" | "GAS TYPE_3" | "GAS INLET_3" | "TARGET CONC_3" | "RELATIVE TOLERANCE_3" | "ABSOLUTE TOLERANCE_3" | [32 empty] | "PRE-TEST DIAGNOSTIC CHECK" | "POST-TEST DIAGNOSTIC CHECK"
ABCD-0000 | "NJ3.11" | "04/11/12 09:49:25" | "0x23" | "850" | "18" | "847" | "11/14/2011 10:27S" | "13" | "848" | "11/14/2011 10:36S" | "13" | "849" | "11/14/2011 10:49S" | "117" | "850" | "11/14/2011 12:07S" | "11/14/2011 12:07S" | "11/14/2011 12:12S" | XYZ CITY POLICE | 00B111 | "1105" | "0.100%" | "08/04/2012" | "WET" | "CU-34" | AAAA E0-1234 | [13 empty] | LAST | FIRST | M | 1234 | "NO ERROR" | "11/14/2011 12:07S" | "11/14/2011 12:07S" | "0.000" | "11/14/2011 12:08S" | "11/14/2011 12:08S" | "0.100" | "0.100" | "11/14/2011 12:08S" | "0.000" | "34.0" | "WET" | "CUVETTE INLET" | "0.100" | "5" | "0.005" | "NO ERROR" | "11/14/2011 12:09S" | "11/14/2011 12:09S" | "0.000" | "11/14/2011 12:09S" | "11/14/2011 12:09S" | "0.100" | "0.100" | "11/14/2011 12:10S" | "0.000" | "34.0" | "WET" | "CUVETTE INLET" | "0.100" | "5" | "0.005" | "NO ERROR" | "11/14/2011 12:10S" | "11/14/2011 12:10S" | "0.000" | "11/14/2011 12:10S" | "11/14/2011 12:11S" | "0.099" | "0.099" | "11/14/2011 12:11S" | "0.000" | "34.0" | "WET" | "CUVETTE INLET" | "0.100" | "5" | "0.005" | [32 empty] | "OK" | "OK"
ABCD-0000 | "NJ3.11" | "04/11/12 09:49:25" | "0x23" | "855" | "18" | "847" | "11/14/2011 10:27S" | "13" | "848" | "11/14/2011 10:36S" | "13" | "849" | "11/14/2011 10:49S" | "118" | "855" | "12/06/2011 13:36S" | "12/06/2011 13:36S" | "12/06/2011 13:40S" | XYZ CITY POLICE | 00B111 | "1104" | "0.100%" | "08/04/2012" | "WET" | "CU-34" | AAAA E0-1234 | [13 empty] | LAST | FIRST | M | 1234 | "NO ERROR" | "12/06/2011 13:36S" | "12/06/2011 13:36S" | "0.000" | "12/06/2011 13:36S" | "12/06/2011 13:37S" | "0.099" | "0.100" | "12/06/2011 13:37S" | "0.000" | "34.0" | "WET" | "CUVETTE INLET" | "0.100" | "5" | "0.005" | "NO ERROR" | "12/06/2011 13:38S" | "12/06/2011 13:38S" | "0.000" | "12/06/2011 13:38S" | "12/06/2011 13:38S" | "0.100" | "0.099" | "12/06/2011 13:38S" | "0.000" | "34.0" | "WET" | "CUVETTE INLET" | "0.100" | "5" | "0.005" | "NO ERROR" | "12/06/2011 13:39S" | "12/06/2011 13:39S" | "0.000" | "12/06/2011 13:39S" | "12/06/2011 13:39S" | "0.099" | "0.099" | "12/06/2011 13:40S" | "0.000" | "34.0" | "WET" | "CUVETTE INLET" | "0.100" | "5" | "0.005" | [32 empty] | "OK" | "OK"